=========================================================

*   *   *

---------------------------------------------------------

T H E   C O V O X

S I G N A L   T O O L K I T

U S E R   M A N U A L

Version  2.01

March, 1993

Software design & programming

Dmitry S. Kondakov

Boris A. Smirnov

Katerina O. Ostapenko

Manual

Vlasta Y. Bouzene

Dmitri S. Kondakov

Boris A. Smirnov

Licensed to Interactive Products, Ltd.

Distributed World-Wide by Covox, Inc.

==========================================================

TABLE OF CONTENTS

1.   INTRODUCTION

2.   INSTALLATION

2.1 System Requirements

2.2 Installing Signal Toolkit on a hard disk

3.   USING SIGNAL TOOLKIT

3.1 Using two frames

4.   GETTING STARTED

4.1 Edit System Settings

4.1.1 Hardware Settings

4.1.2 Parameter Settings

4.2 Load Signal File

4.3 Record Signal to Memory

4.4 Play Signal

4.5 Save Signal to Disk

4.5.1 Save

4.5.2 Save As

4.6 Make Comments

4.7 About

4.8 Quitting STK

5.   OPERATING WITH THE FRAGMENTS

5.1 Cursor movement

5.2 Using markers

5.1.2 Put markers

5.1.3 Delete markers

5.3 Select mode

5.4 Zoom mode

5.5 Show mode

6.   EDITING SIGNAL

6.1 Delete

6.2 Repeat

6.3 Copy

6.4 Copy to

6.5 Write

7.   SIGNAL ANALYSIS

7.1 Pitch extraction

7.2 Visible Speech

8.   USER-DEFINED FUNCTIONS

APPENDIX A.

Signal Toolkit - Quick Overview

APPENDIX B.

Pitch Extraction

APPENDIX C.

Visible Speech

APPENDIX D.

User-Defined Functions.

1.   INTRODUCTION.

The Signal Toolkit (STK) is powerful easy-to-use system for

speech recording, play back, editing, and analysis.  STK displays

the speech data in EGA/VGA graphics and allows you to visually

manipulate it in many creative ways.

The STK supports COVOX and Sound Blaster compatible sound cards

and corresponding file formats.

The STK includes two well-known speech analysis modes: "Pitch

Extraction" and "Visible Speech" (also known as a Sonagram).  See

Appendixes B and C of this manual for details.

The STK is able to use user-defined functions written in any

general purpose program language.  (See Appendix D of this manual

for details).

Some simple conventions are used in this manual:

1.   Single keys are denoted within square brackets; []

2.   Available options are denoted within double quote; " "

3.   [Shift] means pressing the left [Shift] key.

4.   The "Cursor" is the movable vertical line in a Frame.

5.   The "Frame" is where the sound data is stored and displayed.

6.   [Click] means pressing left mouse button.

7.   The options "All", "Marked" and "Select" in the dialog boxes

mean:

- "All" - the whole signal in frame,

- "Marked" - the part of the signal limited by markers,

- "Select" - a section in the frame defined in a box.

Note:  For "Marked" mode you must place at least two markers in

the frame.

2.   INSTALLATION.

2.1  System requirements

a.   An IBM PC/XT/AT.

b.   MS-DOS 3.0 or later.

c.   An EGA or VGA monitor.

d.   A COVOX (Sound Master II or Voice Master) a Sound Blaster or

compatible sound card.

2.2 Installing Signal Toolkit on a hard disk.

You can install Signal Toolkit in your hard disk by copying all

files to a directory on your hard disk.

STK creates several temporary files for internal purposes.  You

can define a directory path where these files will be saved.

(These files will be erased after you quit the program.)  You can

speed up this process by typing, his command:

SET STKSWP = PATH

where PATH is DOS name of the directory for temporary files.

It is a good idea to include this command line in your

AUTOEXEC.BAT file.

3.   USING SIGNAL TOOLKIT

To run the program, type the following at the DOS prompt:

>STK  [Enter]

A copyright notice will appear.  To continue, press any key or

click the right mouse button.

At the upper and on the lower lines of the screen are several

commands.  These commands can either be accessed by holding down

the [Alt] key and the corresponding highlighted letter, or by

placing the mouse cursor on the command and [click].

3.1 Using two frames

The STK allows you to work with two sound buffers simultaneously.

The red arrow at the left indicates the active frame.  The keys

and operations are the same for both frames.

Keyboard: Press [Tab] to switch between frames.

Mouse : [Click] mouse on the upper or lower parts of the screen,

or you may also point to the word TAB on the lower menu line and

click.

4.   GETTING STARTED

4.1 Edit of system settings.

The STK allows you to select hardware and frame settings.

4.1.1 Hardware Settings

The STK allows you to select sound cards and their hardware

settings.

Keyboard : Hold down [Alt]+[H].  Select the parameter by using

up/down arrow key and set it by pressing the left arrow key.

Hold down [Ctrl]+[Enter] for "Modify".  Press [Esc] to cancel

"Cards Settings" option.

Mouse : Point to the word "Hard" on the upper menu line and

[click].  You can change parameters with the mouse.

If you Modify the settings, the program will first check if a

COVOX sound card is installed and set the corresponding

parameters (see Appendix A of this manual for details).

Otherwise, STK will repeat this operation for a Sound Blaster or

compatible card.  If neither card can be identified, STK will set

HARDWARE parameter to "No device".  In this case, the Record and

Play functions will be disabled.

4.1.2 Parameters

You may check and set the most common parameters of each frame:

Buffer Size, Sampling Rate, and Output format.

Keyboard : Hold down [Alt]+[P] for "Parameters".  Select the

parameter by using the up/down arrow keys and modify it's value

by pressing left arrow key.  Press [Ctrl]+[Enter] to "Modify" the

settings or press [Esc] to cancel.

Mouse : Point to the word "Parameters" on the upper menu line and

[click].  A "Frame settings" window will appear on the screen.

Set the desired values by means of corresponding menu items.

4.2 Load signal.

The STK allows you to load a previously recorded sound file disk.

If file length exceeds the buffer size, then only the first part

of the signal will be displayed.

If you attempt to load another file without saving the current

buffer, the program will prompt you with a dialog box.  If you

choose "Y", the new file will be loaded and the previous memory

contents will be overwritten.

Keyboard : Press [F3].  The program asks you for the input

filename.  Type it and press [Enter].

If you press [Enter] without typing a filename, a file list box

shows all sound files with the *.v?? extensions in the current

directory.  Use the arrow keys to move the highlighted bar to the

desired filename and choose it by pressing [Enter].  Or use the

arrow keys to move the highlighted bar to the a sub-directory

name, the "..\" for a higher directory, and press [ENTER] to make

your selection.

You can reload the signal file at any point in one of three ways:

1.   Use [Page Up]/[Page Down] keys to turn over the frames.

2.   Hold down [Ctrl]+[F3] to display the oscillogram from the

current cursor position.

3.   Hold down [Ctrl]+[Page Up] and [Ctrl]+ [Page Down] to

display the first and the last parts of the signal.

Note: The reload function is available from the keyboard.

Mouse:  Point to the word "Read" on the lower menu line and

[click].  Enter the filename by keyboard or [click] which brings

up a file list box which shows all sound files with the *.v??

extension in the current directory.  To choose the desired file

point to the corresponding filename and [double click] (or point

to the word "Enter" and [click]).

4.3 Record Signal to Memory

After entering the "Record" mode the record dialog box appears on

the screen.  You will see the display panel.  Two scales on the

panel are Level and Time indicators.

Note: You can also switch off the indicators to avoid the

background noise created by some video cards.

The optimum recording level while speaking in microphone is

achieved when portions of waveform just barely reach the top and

bottom of the window and corresponds to "normal" position on the

Level scale.  Adjust the microphone position by moving it closer

or further away from your mouth.  The length of the recording is

determined by the Frame Buffer Size, the amount of available RAM,

and the sample rate.

After recording, you can transfer the signal to the active frame

by pressing [Ctrl]+[Enter].

Keyboard : Press [F6] to enter the "Record" mode.  To begin

recording press [F4] and speak into the microphone.  You can stop

recording by pressing any key.  After recording, you will see the

oscillogram of the signal.  Press [F9] to play back it.

Hold down [Ctrl]+[Enter] when you are satisfied with the

recording at which time the active frame will be filled and

previous frame contents will be overwritten.

Press [F2] to write the recorded signal to disk.  The program

will ask you for the output filename.  Type it and press [Enter].

Mouse : Point to the word "Rec" on the lower menu line and

[click].  To activate the necessary function of the "Record" menu

point to the corresponding function name and [click].  You must

use the keyboard to halt a recording.

4.4 Play signal.

This function allows you to play back all or part of the signal

in a frame.

Keyboard: Press [F9].  A "Sound" dialog box appears on the

screen.  The highlighted characters indicate the available

options.  Use the right/left arrow keys to move the highlighted

bar to the desired option and choose it by pressing [Enter].  You

will hear the sound of the current active part of signal.  You

can stop the sound by pressing any key.

Note: Hot Keys for fast operating with "Sound"  function (only

for keyboard control):

- [Alt]+[F9]  for "All"

- [Ctrl]+[F9] for "Marked"

- [Shift]+[F9] for "Select"

Mouse:  Point to the word "Sound" on the lower menu line and

[click].  When a "Sound" dialog box appears point to the desired

option and [click].  You can hear the sound of selected signal

fragment or whole signal in frame.

4.5 Save signal to disk

(To write the whole signal in frame or selected blocks to file

see "6.5 Write" of this manual).

The STK allows you to save the entire recorded signal in the

memory onto the hard disk or a floppy disk.  Default extension

for sound files is defined by the "Output format" parameter in

Frame Settings.

4.5.1 Save

Keyboard:  Hold down [Alt]+[S].  The STK will prompt you with the

dialog box.  Choose "N".  The program will ask you to confirm the

rewriting of the existing file.  Press "Y".  The file will be

overwritten with the new data.

Mouse:  Point to the word "Save" on the upper menu line and

[click].  When a "Save" dialog box appears [Click] "No".  To

confirm the overwriting of the existing file [click] "Yes".

4.5.2 Save as

This function is similar to "Save".  However, it allows you to

change the filename that you are using.  When selected, enter in

the new file name.

Keyboard:  Hold down [Alt]+[S].  When the "Save" dialog box

appears, press [Y].  The STK will ask you for the output

filename.  Type it and press [Enter].

Mouse:  Point to the word "Save" on the upper menu line and

[click].  When a "Save" dialog box appears [click] "Yes".  Enter

the output filename by keyboard.

4.6 Make Comments

STK lets you enter short information about the loaded or recorded

file.  Comments are automatically saved with the signal file.

Keyboard:  Hold down [Alt]+[M].  Type the comment and press

[Enter].

Mouse:  Point to the word "Comments" on the upper menu line and

[click].  Enter the comment by keyboard.

4.7 About

Keyboard:  Hold down [Alt]+[A] for "About" information box.

Press any key to exit.

Mouse:  Point to the word "About" on the upper menu line and

[click].  "About" information box will appear.  [Click] right

mouse button anywhere on the screen to exit.

4.8 Quitting STK

Keyboard:  Hold down [Alt]+[Q] to exit STK and return to DOS.

The program will prompt you with the dialog box.  Choose "Y" to

exit.

Mouse:  Point to the word "Quit" on the upper menu line and

[click].  An "Exit" dialog box appears.  [Click] "Yes" to exit or

"No" to continue.

5.   OPERATING WITH FRAGMENTS

The STK informs you about the following characteristics of the

signal file (see the lines on the upper part of the frame):

- File Name of the signal file;

- short comment (if entered);

- maximum and minimum values of the waveform;

- length in milliseconds (one second = 1,000 milliseconds);

- cursor position in time relative to the beginning.

You can select a section of the signal in two ways: using markers

or by creating a "Select" Box.

5.1 Cursor movement.

Keyboard:  Use right/left arrow keys to move the cursor to the

right or left, and use the up/down arrow keys to "glide" the

cursor right or left.  To move the cursor faster, press and hold

down the [Shift] key.  Press the space bar to stop the cursor

while "gliding".

Mouse:  Point to the desired place of the signal and [click].

The white line will indicate the current cursor position.

5.2 Using Markers.

You may use the markers to select a portion of the signal.

5.2.1 Placing Markers.

When you place a temporary marker in the frame at the current

cursor position, a marker number will appear under the

corresponding line.  If you try to put marker on the occupied

position the program will prompt you with the message "Marker

already exists".  The number of markers are limited.  If you

exceed this limit the STK will prompt you with the corresponding

message.

The markers are saved with the signal file.

Keyboard:  To place a marker in the frame, move the cursor to the

desired position and press [Ins].

Hold down [Ctrl]+[F9] to play back the marked part of the signal

(two markers are required to define a section of signal).

Mouse:  Point to the word "INS" on the lower menu line and

[click].

5.2.2 Deleting Markers.

This function allows you to delete marker numbers.  If the cursor

does not overlap the marker position, the program will ask you

for the marker number to delete.  If the cursor overlaps the

marker position (in this case it turns red), the marker will be

deleted immediately.  Other markers will be renumbered.

Keyboard:  Press [Del].  Type the marker number if necessary and

press [Enter].  The corresponding marker will be deleted.

Mouse:  Point to the word "DEL" on the lower menu line.  Enter

the marker number by keyboard.

5.3 Select Mode.

You may select a part of signal without placing markers.  A

yellow rectangular box will show the Select Box area.  The Select

Box will begin to expand at the current cursor position.

Keyboard:  Hold down [Shift]+[Right] arrow key.  Move the

right/left arrow keys while pressing [Shift] to change the size

of the Select Box.  Move the up/down arrow keys while pressing

[Shift] to slide the Select Box left or right.

Hold down [Shift]+[F9] to play back the area within the Select

Box.

Hold down [Ctrl]+[F8] to unselect block.

Mouse:  Point to the place on the waveform where you want the

Select Box to start from.  Press and hold down mouse button.

Release the mouse button when you have found the Select Box range

satisfactory.

5.4 Zoom mode.

"Zoom" mode is useful for high precision of signal analysis and

for accurate placing of markers.  The "Zoom" window displays the

first 100 samples starting from the current cursor position.

Numbers above indicate the current cursor position, current

sample number and the current waveform value.  When the cursor

reaches the right side of the zoom window, the next 100 samples

are displayed.

"Scale" option selects between a full-scale display (from -128 to

+127) or sets the maximum scale to the maximum value in the

waveform.

"Type" mode allows you to display waveforms in two ways - by dots

or by lines.

Keyboard:  Press [F5].  "Zoom" window will appear on the screen.

Use the left/right arrow keys to move the cursor and [Home]/[End]

to move to the left/right boundaries of "Zoom" window.

Hold down [Alt]+[A] to change vertical scale.

Hold down [Alt]+[T] to change display type.

Press [Esc] to cancel "Zoom" mode.  The current cursor position

will be updated.

Mouse:  Point to the word " Zoom" on the lower menu line.  To

activate any function of "Zoom" menu point to the desired

function name and [click].

5.5 Show Mode.

"Show" mode displays the oscillogram with higher precision.  All

the functions of the cursor described above are valid.  "Scale"

option allows to displays the waveform in [-128 +127] limits or

automatically scaled.

Keyboard:  Press [F8].  A "Show" dialog appears on the screen.

The highlighted characters indicate the available options.  Use

the right/left arrow keys to move the highlighted bar to the

desired option and choose it by pressing [Enter].  You will see

the oscillogram of the selected speech fragment.

To play back the active part of the signal press [F9].

Hold down [Alt]+[A] to change vertical scale.

You can use "Zoom" mode to enlarge the waveform.  Zoom it by

pressing [F5].

Hold down [Alt]+[I] to enter "Pitch Extraction" mode and

[Alt]+[V] to enter "Visible Speech" mode.

For more detailed picture of the signal, place two markers by

pressing [Ins] and press [F8].  You will see the oscillogram of

the new fragment.  To return to the previous mode press [F10].

To save the new marker positions or Select Box range, hold down

[Ctrl]+[Enter].

Press [Esc] to cancel the "Show" mode.

Mouse:  Point to the word "Show" on the lower menu line and

[click].  When a "Show" dialog box appears, point to the desired

option and [click].  To activate any function of the "Show" menu,

point to the corresponding function name and [click].

6.   EDITING THE SIGNAL

The STK allows you to operate with blocks.  To mark a block you

want to operate with, you can place markers or Select an area as

described above before entering "Block" mode.  (See "5.2 Using

markers" and "5.3 Select mode").

While in Block Mode, you can create new Select Boxes and playback

the signal.  You cannot place markers in Block Mode.

Keyboard:  Hold down [Alt]+[B] to enter "Block" mode.

Mouse:  Point to the word "Block" on the upper menu line and

[click]..

6.1 Delete

This function allows you to delete a section of the signal.

Keyboard:  Press [D].  A "Delete" dialog box appears on the

screen.  The highlighted characters indicate the available

option.  Move the highlighted bar to the desired option and

choose it by pressing [Enter].  The corresponding block will be

deleted.

Mouse:  Point to the word "Delete".  When a "Delete" dialog box

appears, point to the desired option and [click].  The

corresponding block will be deleted.

6.2 Repeat

This function allows you to repeat the Select Area starting after

the selected block.

Keyboard:  Press [R].  The Select Area will be duplicated and

repeated.

Mouse:  Point to the word "Repeat" of the "Block" menu and

[click].

6.3 Copy

This function allows you to copy a section of the signal (or the

entire frame).  Copy will duplicate a Selected Area or Marked

Section to the cursor location.

Keyboard:  Move the cursor to the place where you want the

waveform to be copied and press [C].  A "Copy" dialog box appears

on the screen.  The highlighted characters indicate the available

options.  Use the right/left arrow keys to move the highlighted

bar to the desired option and choose it by pressing [Enter].

Mouse:  Point to the place of the signal where you want the

waveform to be copied.  Point to the word "Copy" of "Block" menu

and [click].  When a "Copy" dialog box appears, point to the

desired option and [Click].  The corresponding part of the signal

will be copied.

6.4 Copy to

The STK allows you to copy part of the signal from one frame to

another.  The red arrow always indicates the receiving frame.

Note: You can copy the signal or it's part both to a filled or an

empty frame.  In the last case the marked block will be copied

from the very beginning of the frame,  and the file name will be

New.

Note: You may paste signals with different sampling rates, but

the STK will not adjust to the new sample rate.

Keyboard:  Move the cursor to the place where you want the

waveform to be copied.  Press [T].  A "Copy to" dialog box

appears on the screen.  The highlighted characters indicate the

available options.  Use the right/left arrow keys to move the

highlighted bar to the desired option and choose it by pressing

[Enter].  The corresponding part of the signal will be copied

into the active frame.

Mouse:  Point to the place on the waveform where you want the

waveform to be copied.  Point to the word "Copy to" of "Block"

menu and [click].  When a "Copy to" dialog box appears, point to

the desired option and [Click].

6.5 Write

This function allows you to write sections of the signal to disk.

This differs from Save in that Save stores the entire frame to

disk.

Keyboard:  Press [F2].  A "Write" dialog box appears on the

screen.  The highlighted characters indicate the available

options.  Use the right/left arrow keys to move the highlighted

bar to the desired option and choose it by pressing [Enter].  The

program will ask you for the output filename.  Type it and press

[Enter].

Mouse:  Point to the word "Write" on the lower menu line and

[click].  When a "Write" dialog box appears, point to the

available options and [click].  Enter the output filename with

the keyboard.

7.   SIGNAL ANALYSIS

Two speech analysis modes are available: "Pitch Extraction" and

"Visible Speech" (also know as a Sonagram).  Pitch refers to the

fundamental frequency of your voice.  Males have voice pitches in

the range of about 80 Hz to 150 Hz, females up to 250 Hz, and

children even higher.

7.1 Pitch Extraction

Before you analyze "Pitch",  you may check and set the pitch

extraction parameters.  (See Appendix B of this manual for

details).  Then the STK will display the waveform of the selected

part of signal and it's pitch plot, presented by dots.  The

higher the dot is on the graph, the higher the voice pitch.

All the functions of the cursor described above are legal here.

"Play" and "Zoom" functions are available in "Pitch" mode too.

You can load or record signal into both frames and also enter

"Pitch" mode.  The STK will display two intonation pictures for

both signals in frames.  The upper picture corresponds to the

active frame.  In this case you can hear the sounds of both

signal in frames in succession.

Note: The Double Frame mode is available only for the whole

signal, you can not operating with fragments.

The STK allows you to visually observe your voice pitch and

compare it to another voice.  This is ideal for speech therapy or

language training.

Set the parameter SHOW to "Train" for "Train Voice" mode.  The

STK will display the active part of the signal on the upper part

of the screen.  The lower part of the screen will represent the

results of train procedure.  All functions are analogous to

"Record" mode (see "4.3 Record signal to memory").  The indicator

shows the length of the recorded signal.  After recording, STK

displays the oscillograms and intonation pictures for both

signals and plays back the input.  You can hear both frames in

succession.

Note: "Marked" and "Select" options are unavailable in "Train"

mode.

Keyboard:  Hold down [Alt]+[I].  If a "Pitch Extraction" dialog

box appears on the screen, the highlighted characters will

indicate the available options.  Use the right/left arrow keys to

move the highlighted bar to the desired option and choose it by

pressing [Enter].  The window box list shows the "Pitch

Extraction" parameters.  Use the up/down arrows keys to move the

highlighted bar to the desired parameter.  Press left arrow key

to modify the parameter value (or type the new one) and save it

by pressing [Enter].  If you have found all settings satisfactory

hold down [Ctrl]+[Enter].  All modified settings will be saved.

For new parameters settings hold down [Alt]+[I].

Press [F9] to play back the signal and [F5] to enter "Zoom" mode.

Press [Esc] to quit.  All placed markers will be saved.

Mouse:  Point to the word "Pitch" on the upper menu line and

[click].  "When the "Pitch Extraction" dialog box appears on the

screen, point to the desired option and [click]. To activate any

function of "Pitch" menu point to the desired function name and

[click].

7.2 Visible Speech

Before signal analysis in "Visible" mode, check and set the

spectrum parameters.  (See Appendix C of this manual for

details).   A Sonagram (Visible Speech) of the selected part of

the signal and it's oscillogram will be displayed.

Note: You can stop the picturing by pressing [Esc].

If you have a math coprocessor, the drawing of the Sonagram will

be much faster.

All cursor functions are valid.  You can place markers.  The

playback function is also operable.

Keyboard:  Hold down [Alt]+[V].  The "Visible Speech" dialog box

appears on the screen.  Use the right/left arrow keys to move the

highlighted bar to the desired option and choose it by pressing

[Enter].  The window box list shows the Spectral Parameters.  Use

the up/down arrows keys to move the highlighted bar to the

desired parameter.  Press left arrow key to modify the parameter

value (or type a new one) and save it by pressing [Enter].  If

you have found all settings satisfactory hold down

[Ctrl]+[Enter].   All modified settings will be saved.  To change

the parameters, hold down [Alt]+[V].

Press [F5] to display the FFT (Fast Fourier Transform) spectrum

at the cursor location.

Mouse:  Point to the word "Visible" on the upper menu line and

[click].  A spectral parameters window will appear on the screen.

Select the desired parameter with a [click] and update the

settings using the keyboard.

8.   USER-DEFINED FUNCTIONS

STK allows you to create your own signal processing functions.

You do this by writing a routine to read the signal frame,

altering it, and saving back.  An example echo program has been

including with the source listing.

After activating the user-defined function the current system

state will be saved and the corresponding function will be

fulfilled.  User-defined function has the access to the internal

data of system.  It allows you to change the data in both frames.

After finishing the function operation the system state will be

restored with all changes.  (See Appendix D of this manual for

further information).

Keyboard:  Press [F10].  When a "User" dialog box appears on the

screen, the highlighted characters indicate the available

options.  Use the right/left arrow keys to move the highlighted

bar to the desired option and choose it by pressing [Enter].  The

STK will ask you for the filename of the executable program.

Type it and press [Enter].

Mouse:  Point to the word "User" on the lower menu line and

[click].  When a "User" dialog box appears, point to the desired

option and [click].  Enter the filename of the executable program

you want to be fulfilled by keyboard.

NOTE:  We have including a user function called ECHO.

APPENDIX A.

SIGNAL TOOLKIT - QUICK OVERVIEW.

The Signal Toolkit uses Pulse Code Modulation (PCM) to present

the speech signal in digital form.  Each sample is an

instantaneous signal amplitude.  The STK gets the samples at

equal time intervals.

The number of samples per second is called "Sampling Rate".  If

you use a sample rate of 10,000 samples-per-second (also called

Hz or Hertz), then each interval is 1/10,000 or 100 micro

seconds.

The graphic based editor program displays the speech waveform for

visual manipulation.  You can cut, paste, delete the signal or a

fragment.

All files are saved in standard COVOX and Sound Blaster formats.

Note:  The STK not allows you to operate with the COVOX signal

files concatenated together.  The STK also not  supports the

files in .VOC format with unlimited loops and with various

Sampling Rate.

Before loading the STK will set the parameters founded in STK.CNF

file (cards and frame settings, and the pitch extraction and

spectral parameters, or (if this file is absent) the default

values.  Each time you exit STK, the system parameters will be

saved in STK.CNF file.

The STK reserves the place for two blocks, called "frames", which

is a special data structure used by the system.  This structure

consists of the signal "descriptor", a markers list, and the PCM

data.  Two parameters of "descriptor" are able to be changed:

Sampling Rate and Buffer Size.  The STK always operates with the

active frame (pointed by the red arrow).  While coping from one

frame to another the active frame is always data receiver.

In some unexpected situations (i.e. if abnormal program

termination takes place) the temporary files (STK????.TMP)

created by the program for internal application may appear in the

corresponding directory.  These files are PCM files in binary

format without any headers.  You may load them by changing the

extension from .tmp to .vmf.  You may also delete them.

APPENDIX B.

PITCH EXTRACTION

The STK applies the pitch extraction method based on the analysis

of the autocorrelation function (ACF).  The math involved is

quite complicated, but for those of you who understand the

concepts, we present a list of parameters that are used by the

pitch extraction algorithm:

Window - analysis window length (in samples).  Default 75

(corresponds to 30 ms at Sampling  Rate - 10 kHz).

Shift - shift of analysis window length (in samples).   Default

75 (corresponds to 30 ms at Sampling  Rate - 10 kHz).

Low - minimum possible pitch value (in samples).  Default 5

(corresponds to 2 ms at Sampling Rate - 10 kHz).

High  - maximum possible pitch value (in samples).  Default 35

(corresponds to 14 ms at Sampling  Rate - 10 kHz).

Th_pause - pause or silence threshold value relatively to global

maximum of signal amplitude.   Default 0.04.

Th_clip - clipping threshold value relative to the lesser of two

amplitude maxima: of the first and the last thirds of signal

segment.  Default 0.64.

Th_acf - autocorrelation function threshold value relatively to

ACF value in zero point.   Default 0.35.

SHOW  - display mode.  Single - for one frame,   Both - for both

frames,   Train - for "Train Voice" mode.  Default Both.

You may change and set these parameters to alter the accuracy and

display of the voice pitch.  Here are some tips:

1.   A Shift value alteration changes the number of pitch dots

displayed.  The smaller the value, the more dots appear. But

too small a value might cause discrepancies in the

smoothness of the curve.  It also increase the computation

time.  Try a value of 35.

2.   Low and High values are defined according to the peculiarity

of the speech data.  Default values correspond to the

minimum and maximum possible pitch values.  Decrease the

High value for high-pitch voices and increase the Low value

for deep voices.  By narrowing the range, you will get more

accurate data.

3.   Th_pause value sets a threshold that the alogorithm uses to

differentiate between speech and background pauses. or

"silence" periods. Decrease it's value to remove the

occasional "ruptures" on the intonation picture on the

vocalized parts of signal.  Increase it if pitch is present

during pauses.

4.   Th_clip value affects on the accuracy of the ACF.  For

example, decrease the Th_clip value if the pitch value seems

to be less than what it ought to be.

5.   Try to increase Th_acf, if the illegal "ruptures" on the

intonation picture cannot be removed by other correcting the

other parameters.

Note:  The buffer size parameter for "Pitch" mode cannot exceed

32K.

APPENDIX C.

VISIBLE SPEECH

For the spectral signal analysis, STK uses FFT or Fast Fourier

Transform.  The algorithm is realized by 32-bit fixed-point

arithmetic.  The results (Visible Speech proper) are presented on

the screen together with the oscillogram of signal.

Significant improvement of the processing speed will be realized

if you have a math coprocessor.

The spectral analysis can be conducted on the entire frame or a

fragment.

"Visible Speech" parameters:

FFT window size - analysis window length.  Available

values: 64, 128, 256 or 512.  Default 256.

FFT window type - analysis window type.  Available types:

Hamming (HAMM) or rectangle (RECT).  Default HAMM.

Axis freq type - frequency scale type.  Available types: Linear

(LINE) or Bark (BARK) scale.  Default BARK.

Axis power type - power scale type.  Available types:  Log(W),

W/1.e5 or Sqrt(W).  Default Sqrt(W).

Display type - spectrum presentation type.  Available types: 3-

dimensional (by waveforms) or a gray scale sonagram.  Default

Gray.

FFT step  - step of analysis (ms).  Default 20.

High pass freq - cut off frequency of a high pass filter in Hz.

Default 0.

Degree  - slope attenuation of the high-pass filter (dB/octave).

Default 0.

Max disp frq - maximum displayed frequency (Hz).  Default is one

half of the sampling rate.

Smooth, points - filtering window length (points).  Available

windows: 0,3,5,7 or 9.  Default 9.

Disp min  - minimum displayed spectrum amplitude.  Default 0.

Disp max  - maximum displayed spectrum amplitude.  Default 2000.

Some short comments to the Visible Speech parameters.  The

Visible Speech picture is presented in two ways: by waveforms (3-

D mode) or by gray scale.  Maximum and minimum displayed spectrum

amplitudes define the amplitude scaling for 3-D mode and upper

and lower saturation limits for Gray gamut.

Every point of spectrum presentation corresponds to the center of

analysis window.  The step of the analysis means the distance (in

ms) between two neighboring window centers.

The horizontal axis displays time, and the vertical axis is

frequency.  For the Sonagram, the darker the display, the more

power contained at that frequency.  In the 3-D display, this

power is displayed as little "mountains" where the height of the

mountain indicates power.  You can also view a slice of the

"mountain" in the sonagram display by placing the cursor at the

desired location and pressing F5.

It is possible to smooth the data by means of several filters

differentiated by the number of points in the FFT (512 points

gives a more precise display than 256 or 64 points).  You also

can vary the window length (the smaller the window, the more

accurate the display).

To balance the low and high frequency areas spectrum

representation you can define a high-pass filter to remove some

of the fundamental voice pitch, or to remove 60Hz hum.  Try a

filter of 150 Hz with a slope of 6 db/oct.

APPENDIX D.

USER_DEFINED FUNCTIONS

STK allows you to increase the number of signal analyzing and

processing functions.

When you select the User option F10, STK saves the system state

in a special file STK.SWP, sets memory free, and then executes a

user-defined function.  After finishing this function operating

the STK restores system state with all modifications.

An example of a user-defined function is ECHO.EXE.  The source

listing is ECHO.C.

The data offsets in STK.SWP are as defined as follows:

=============================================================

offset(HEX)   | length | field name

===============|=============================================

1F8       | 80      | filename of the first frame

|         | (ASCIIZ)

---------------|---------|-----------------------------------

4D2       |    80   | filename of the second frame

|         | (ASCIIZ)

---------------|---------|-----------------------------------

80        |    2    | sampling rate for the first frame

---------------|---------|-----------------------------------

32A       |    2    | sampling rate for the second frame

---------------|---------|-----------------------------------

2         |    2    | first frame state

---------------|---------|-----------------------------------

2DC       |    2    | second frame state

---------------|---------|-----------------------------------

5B4       |    2    | flag - indicates the active frame

---------------|---------|-----------------------------------

5B6       |    4    | shift to the starting point of

|         | fragment in the first frame

---------------|---------|-----------------------------------

5BA       |    4    | shift to the end point of

|         | fragment in the second frame

=============================================================

Frame state bits layout

-----------------------

| bit0  |   - reserved

| bit1  | 1 - data had been modified

| bit2  |   - reserved

| bit3  | 1 - frame contains data

| bit5  |   - reserved

......................

| bit15 | - reserved

-----------------------