ROC

Any diagnostic test has two important characteristics:

sensitivity and specificity.  Sensitivity refers to correctly yielding a

positive test result in persons with disease; specificity refers to correctly

yielding a negative result in persons without disease.  Mathematically they can

be defined using a two by two table:

disease

yes         no

_________________

|        |        |

pos  |   A    |   B    |      sens= A/(A+C)

|________|________|      spec= D/(B+D)

test          |        |        |

neg  |   C    |   D    |

|________|________|

The positive and negative predictive value of a test depends on the

operating characteristics of the test (sens and spec) but also on the

population being tested.  Positive predictive value is defined as A/(A+B),

that is, of all those with a positive test, how many will have disease.

When sensitivity, specificity, and pre-test probability of disease are

known, one can calculate the post-test probability of disease.  This

relationship can be expressed as receiver operating curves.

This program generates ROC curves.  It requires a CGA card and BASICA.